Thermodynamics II MEC 2307

Laboratory Experiments

Mechanical Heat Pump

Object:

To investigate the heat balances in a mechanical heat pump and determine the refrigeration and heat pump COP’s.

Apparatus:

Hilton Mechanical Heat Pump

Referring to the attached figure, the setup incorporates

refrigerant compressor, refrigerant  R12

condenser and condensing tank

manually variable expansion valve

evaporator and evaporating tank

refrigerant  and water flowmeters

refrigerant  and water thermometers

refrigerant pressure gauges

Procedure

The apparatus is in a setup as shown in the attached figure.  Open the water supply to the condensing and evaporating water tanks and leave to settle.  Then switch on the heat pump, i.e. the compressor.  Allow the system to reach steady conditions in terms of temperatures, flow rates and pressures, then take a full set of readings.

Repeat the experiment for say three different refrigerant flow rates.

Theory

The refrigerator or heat pump are thermal cycles intended to make heat transfer against the natural gradient, i.e. heat is made to flow from a low temperature reservoir to a higher temperature reservoir by the utilization of mechanical power.  Therefore a refrigerator or heat pump performs the opposite of a heat engine cycle.

For the electrical kWhr power meter used,

,		hence

In the test rig, the Work input measured is the electrical input and not the true work on the refrigerant.  Therefore the measured Work is larger than the work going into the cycle because of the motor and mechanical inefficiencies.

Results

Plot the cycle on the p-h diagram for the test with the highest refrigerant flow rate.  Using the p-h diagram evaluate the enthalpy before and after the condenser and evaporator.  Hence calculate the quantities Q2 and Q1  and W from the determined enthalpies.

Do the same calculation based on the enthalpy determined from the ph diagram for the other flow rates.

Perform a check on Q1 and Q2 determined from the refrigerant by also calculating them from the water.

Calculate the COP’s for refrigerator and heat pump based on Q2 Q1  and W prom the ph diagram/

estimate the true work input into the cycle, and the overall motor&mech  efficiency

Conclusions

Draw your own conclusions on the experiment and results obtained.

Readings

Ambient temperature: 		0C    (only for reference)

Atmospheric pressure:		cmHg   (only for reference)

| Refrigerant | Water | Electrical Power |
| --- | --- | --- |
| Flow g/s | Pressures kN/m2 | Temperatures oC | Flow | Temperatures oC | Power kWh | Time |
|  | Cond | Evap | Inlet Cond | Out Cond | Inlet Evap | Out Evap | Cond kg/hr | Evap kg/hr | Common In | Cond Out | Evap Out | No. of revs | (t s |

# Text boxes

By the 1st law, W + Q1 = Q2

Coefficient of Performance, COP, is given by

and

Q2

T2

W

Reversed heat engine

Q1

T1