Using Variable Area Flow Meters

Variable area flow meters (or rotameters) operate principally on the fluid drag over the float or “bob”.  A force balance on the bob gives

Using subscripts “b” for the bob and “f” for the fluid,   , where Ab is the frontal area of the bob, and Cd is a drag coefficient, and  is the mean velocity in the annular area around the bob.  Substituting drag, gravity and buoyancy forces into the above force balance,

Solving for the mean velocity in the annular space,

And so the volumetric flow rate becomes,

, where A is the annular area around the bob.

Recognizing that the first term in the square brackets is approximately constant for a given bob,

Rotameters are typically calibrated for reference fluids (subscript “r”), like air or water at standard conditions, so that

Writing the volumetric flow rate for any fluid, in terms of that for a reference fluid,

or

For the case of gases, like air, and stainless steel floats,  , so that

Volumetric flow rate at the measured conditions is

Hence the mass flow rate is , and we can convert this to flow rate at the reference conditions also.